RADIATION/CONTAMINATION SURVEY

| PRINCIPAL INVESTIGATOR: |  |
| --- | --- |
| SURVEYOR: | ROOM NO: |
| RADIONUCLIDES USED: | SURVEY NO: |
| SURVEY TYPE: WEEKLY SPECIAL | DATE: / / |

|  |  | Yes |  | No |  | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| Caution Signs Posted |  |  |  |  |  |
| Waste Facilities Posted & Neat |  |  |  |  |  |
| Inventory up to Date |  |  |  |  |  |
| Work Areas Clean |  |  |  |  |  |
| Survey Meter Calibrated |  |  |  |  |  |
| Survey Meter Operation Verified with Dedicated Check Source |  |  |  |  |  |

DETAILED LABORATORY LAYOUT

RADIATION READINGS:

| Survey Meter Model & Serial # |  |  |
| --- | --- | --- |
| Work Area |  | mR/hr |
| Waste Facilities |  | mR/hr |
| Storage Areas |  | mR/hr |

CONTAMINATION SURVEY RESULTS

Counting Instrument Model & Serial #

Detection Efficiency   % for Iosotope

| # | Swipe Identification | Net Cpm | Net dpm* | Post Decon dpm |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

*Areas of greater than 100 dpm/swipe must be resurveyed and documented.

DPM = Gross CPM minus background divided by the efficiency of the counting instrument for the particular radioisotope.