1. Toxin Profile                               Last updated by pi: Click or tap here to enter text.

Toxin Name:

| Species, Exposure Route, LD50 in μg/kg body weight | Mouse, Intraperitoneal (IP), 7.8 |
| --- | --- |
|  | Mouse, Intravenous (IV), 10 |

Low Molecular Weight Toxin: No

Select Agent: No

Select Agent Regulation (SAR) Exempt Limit (total amount in possession): N/A

2. MSDS/SDS Specific toxin hazard information

CAS number: Click or tap here to enter text.

Routes of Exposure: Click or tap here to enter text.

How Exposure May Occur: Click or tap here to enter text.

Target Organs: Click or tap here to enter text.

Signs/Symptoms Of Exposure: Click or tap here to enter text.

3. Designated Work areas

Building number(s): Click or tap here to enter text.

Fume hood room numbers(s): Click or tap here to enter text.

Certification date: Click or tap to enter a date.

Biological Safety Cabinet room number(s): Click or tap here to enter text.

Certification date: Click or tap to enter a date.

Hazardous Waste Satellite Accumulation Area Room number(s): Click or tap here to enter text.

4. Administrative controls

It is the responsibility of the PI to register any work involving the use of Beta Bungarotoxin with the Biosafety Office. All work must be approved by the Biosafety Office prior to commencing.

All personnel must be familiar with the SDS sheet for Beta Bungarotoxin. The MSDS and/or SDS must be attached to this SOP. It is the responsibility of the PI to train all personnel regarding:

- symptoms of toxin exposure

- post-exposure management

- spill cleanup and decontamination

- proper use of engineering and work practice controls

- personal protective equipment

- security requirements

Exclude non-essential personnel from the work area when toxins are used.

A “No Entry, Toxins in Use” sign must be posted on the entrance(s) of the designated work areas to warn/exclude personnel not directly involved in the work.

5. Personal Protective Equipment (PPE)

The following PPE is required to be worn at all times:

- Long pants and full coverage shoes

- Laboratory coat or gown

- Latex or nitrile gloves

- Safety glasses with side shields or goggles

- Respiratory protection will be required if aerosols may be generated and it is not possible to use containment equipment or other engineering controls.

6. Engineering controls

Beta Bungarotoxin will be handled in a functional and certified fume hood whenever:

- Reconstituting stock vials

- Open manipulation of toxin solutions occurs

- Opening toxin packages shipped to the lab

If there is any chance that Beta Bungarotoxin aerosols will be generated, an annually certified biological safety cabinet (BSC) must be used instead. In-line HEPA filters will be used on all vacuum lines. Safety centrifuge cups or sealed rotors will be used if centrifuging materials that contain Beta Bungarotoxin. The centrifuge cups or rotors will be opened inside the BSC.

7. safe work practices

Purchase liquid toxin stock whenever possible. Work with powdered or dried toxins increases the risk of inhalational exposure and poses a tendency for electrostatic attachment to gloves, weighing spatulas, etc.

Keep only minimum necessary amounts of toxin on hand.

Use the “Buddy System” when working with concentrations/amounts of toxin near or exceeding the LD50 dose for a human or when conducting higher risk procedures. Higher risk procedures include:

- Use of aerosol or splatter generating procedures

- Use of concentrated stocks or large quantities of toxins

- Work with powdered or dried toxins

- Use of needles or sharps

- Reconstitution of lyophilized toxin

Minimize the use of sharps. If sharps are required, safety sharps should be used.

If a needle must be used to reconstitute toxin, use a vial adapter to minimize risk.

Use plastic ware instead of glassware and disposable materials whenever possible. Do not use glass Pasteur pipettes!

Set up the work area with all needed equipment/supplies prior to starting work.

If toxin/toxin solutions must be transported, place the primary container inside a leak-proof, non-breakable secondary container lined with absorbent material and labeled with a biohazard sticker.

Upon completion of work, wipe all surfaces and equipment with a fresh dilution of 5,000ppm bleach. Allow a minimum of 5 minutes of contact time.

Always wash hands after removing PPE and before leaving the work area.

8. Waste Disposal

SOLID NON-SHARP WASTE:

- Collect the contaminated items in a hard sided, covered container inside the fume hood or BSC.

- Upon completion of work, spray with undiluted sodium hypochlorite. Close the container and allow the contents to sit for a minimum of 30 minutes to ensure inactivation of the Beta Bungarotoxin.

- Fill out a yellow hazardous waste label and affix it to the container. The label must be marked as ‘Corrosive, Oxidizer’ and read ‘Sodium Hypochlorite, 99%, Beta Bungarotoxin, <1%’.

- Store in the designated Hazardous Waste Satellite Accumulation Area until pickup.

- Submit a Chemical Waste Pickup Request to have the waste collected by the EH&S Hazardous Waste team: https://www.ehs.ufl.edu/forms/hazardous-waste-forms/

SHARP WASTE:

- Collect in a hard sided, covered container inside the fume hood or BSC.

  - If the sharp item is a needle or needle/syringe combo, it must be collected in a red sharps box.

- Upon completion of work, close and spray with undiluted sodium hypochlorite. Allow the contents to sit for a minimum of 30 minutes to ensure inactivation of the Beta Bungarotoxin.

- Fill out a yellow hazardous waste label and affix it to the container. The label must be marked as ‘Corrosive, Oxidizer’ and read ‘Sodium Hypochlorite, 99%, Beta Bungarotoxin, <1%’.

- Store in the designated Hazardous Waste Satellite Accumulation Area until pickup.

- Submit a Chemical Waste Pickup Request to have the waste collected by the EH&S Hazardous Waste team: https://www.ehs.ufl.edu/forms/hazardous-waste-forms/

LIQUID WASTE: NEVER POUR TOXIN SOLUTIONS DOWN THE DRAIN!

- Place plastic-backed absorbent pad in the working area of the fume hood or BSC.

- Place the primary container containing the Beta Bungarotoxin inside a leak-proof secondary container.

- Carefully add an equal volume of undiluted sodium hypochlorite into the Beta Bungarotoxin solution contained in the primary container.

- Close the container and allow it to sit for a minimum of 30 minutes.

- Fill out a yellow hazardous waste label and affix it to the primary container. The label must be marked as ‘Corrosive, Oxidizer’ and read ‘Sodium Hypochlorite, 99%, Beta Bungarotoxin, <1%’.

- Store the primary container in the designated Hazardous Waste Satellite Accumulation Area until pickup.

  - Once liquid waste treatment is complete, dispose of the plastic-backed liner as described in the SOLID NON-SHARP WASTE section. Also wipe down the secondary container with undiluted sodium hypochlorite, allow 30 minutes, and then wipe with water. Dispose of wipes as described in the SOLID NON-SHARP WASTE section.

- Submit a Chemical Waste Pickup Request to have the waste collected by the EH&S Hazardous Waste team: https://www.ehs.ufl.edu/forms/hazardous-waste-forms/

9. Spill Handling

The biological spill kit is located in Click or tap here to enter text.

Beta Bungarotoxin spills will be handled using undiluted sodium hypochlorite as follows:

- Don PPE as specified in section 4, Personal Protective Equipment (PPE)

- Cover spill with paper towels or other absorbent material

- Apply undiluted sodium hypochlorite to the spill, starting at the perimeter and moving towards the center at a slow, steady rate. Allow disinfectant to remain in contact with the Beta Bungarotoxin for a minimum of 30 minutes.

- Use forceps/tweezers/tongs to pick up absorbent materials and any sharp materials. Place in biohazard bag, clear polypropylene autoclave bag, or sharps container as appropriate. Wipe up excess disinfectant and place in the waste bag or container used.

- Repeat disinfectant application. Remove any disinfectant residue with water and 70% ethanol.

- Remove PPE, dispose of materials into biohazard bag or in waste container labeled as Hazardous Waste. The sticker must be marked as ‘Corrosive, Oxidizer’ and read Sodium Hypochlorite, 99%, Beta Bungarotoxin, <1%. Wash hands thoroughly.

- Report incident to PI and UF EH&S Biosafety by calling 352-294-1590 and filling out an incident report: https://www.ehs.ufl.edu/report/

10. Exposure Management

Skin or Wound Exposures

Move to (or move person to) uncontaminated area and remove contaminated PPE/clothing and place in red biohazard bag.

Wash skin and wound exposures with fresh 0.5% sodium hypochlorite (bleach diluted 1:100) or soap and water.

For spills of large quantities of toxin onto clothing or skin, immediately use the emergency shower and follow with fresh 0.5% sodium hypochlorite or soap and water.

Eye or Mucous Membrane Exposure

Use emergency eye wash for a minimum of 15 minutes.

For All Exposures

Obtain medical attention as needed:

- Call 911 for life-threatening emergencies.

- If non-life threatening, contact AmeriSys at 1-800-455-2079 to obtain authorization on where to receive medical treatment and complete the First Report of Injury or Illness form.

Review MSDS and/or SDS for symptoms of exposure/delayed onset effects.

Report incident to PI and UF EH&S Biosafety by calling 352-294-1590 and filling out an incident report: https://www.ehs.ufl.edu/report/

11. Acknowledgment

The PI and all project personnel must sign and date below indicating that they have read and understood the SOP and agree to adhere to all requirements. The SOP must be reviewed annually and updated as needed. All personnel must sign and date any time the SOP is updated.

| LAst Name | First name | Signature | Date |
| --- | --- | --- | --- |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

12. References

- Biosafety in Microbiological and Biomedical Laboratories, 6th edition, page 470 - 480: https://www.cdc.gov/labs/pdf/SF__19_308133-A_BMBL6_00-BOOK-WEB-final-3.pdf

- Laboratory Decontamination of HHS-Listed and HHS/USDA Overlap Select Agents and Toxins: https://www.liebertpub.com/doi/pdf/10.1177/153567601301800202

- UF EH&S Acute Toxins of Biological Origin: https://www.ehs.ufl.edu/departments/research-safety-services/biosafety/acute-biological-toxins/